# Foundation check — is the DAR dipole real, or an artifact of the committed dataset?

K. Honscheid (OSU) with Claude · NERSC session · 2026-08-05

Validation check requested as a gate before trusting Test 1 and Test 4 of the DAR dipole investigation (DAR_DIPOLE_NERSC_HANDOFF.md). It does not modify that document or DAR_FIBER_LOSS_REPORT.md, which remain the primary references for the dipole’s discovery and the resolved findings, respectively.

## TL;DR

- The entire dipole result rested on one dataset, notebooks/data/dar_calibstars_dataset.parquet, generated in an earlier (pre-NERSC) session and never independently regenerated. Every reproduction so far — including this session’s own re-fit at the start of the Test 1 work — was a deterministic re-fit of that same committed file, which validates the fit code, not the data generation step. The q-permutation null (used earlier to confirm the rotating signal is genuinely q-locked) defends against q-independent bugs and mis-joins, but would not catch a q-correlated systematic baked into the file itself.

- Check 1 (decisive): independently regenerated the dataset from the DB from scratch and re-fit. Result: D_rot/Q_rot = 2.03 / 1.97 / 1.74 at airmass >1.4/1.6/1.8 — matches the original handoff table (2.03 / 1.93 / 1.75) to 2–3 significant figures, from a fully independent code path and a slightly larger, more recent population. The dipole is not a stale-parquet artifact.

- Check 2: confirmed the focal-plane X/Y coordinates carry no pre-applied per-exposure rotation — a necessary condition for the “rotates with parallactic angle” reading to mean what it’s claimed to mean.

- Check 3 (optional): not attempted, correctly, because it is not cheap — noted as a standing follow-up already tracked elsewhere.

- Bottom line: the ground under this entire investigation is sound. The dipole is real and reproducible from independent data, not a coordinate-frame or stale-file artifact.

## Why this check was needed

The DAR dipole — a coherent ~10 μm (≈0.14″), zenith-tied, airmass-growing boresight offset in the standard-star flux loss — has been the subject of an extensive search for its physical source (Tests 1 and 4, both completed this session; see their own reports/sections). All of that work assumes the underlying measurement is real. The one thing none of it actually tested is the measurement itself: the pooled dataset it’s built on was generated once, in an earlier session, by ad hoc scripts that were never committed to the repository (notebooks/data/README.md documents what the dataset contains and its selection criteria, but the build scripts themselves don’t exist in the repo to inspect or rerun). Every subsequent “reproduction” of D_rot — including the one done at the start of this session’s Test 1 work — re-ran the fit against that same file. A bug or systematic baked into the data-generation step itself (e.g. a subtle mis-join, a coordinate transform applied inconsistently with airmass or parallactic angle, a selection artifact correlated with sky position) would reproduce identically every time and would not be caught by re-fitting the same file, however many ways the fit itself is sliced.

## Check 1 — independent regeneration and re-fit (decisive)

Method. Rebuilt the pooled calibstars dataset from scratch using the telemetry_mining package’s own query primitives (select_exposures + harvest), matching the exact selection notebooks/data/README.md documents — not the original (uncommitted, unavailable) build scripts, but an independent implementation of the same documented selection:

- sequence in ('DESI', '_Split')

- program in ('DARK', 'BRIGHT', 'DARK1B', 'BRIGHT1B')

- totteff > 60

- one row per VALID == 1 star from each exposure’s calibstars table

Parallactic angle was pulled fresh from exposure.exposure as well, rather than reusing the committed data/dar_exposure_pointing.csv. The unmodified dipole/quadrupole fit (analysis/dar_dipole/fit_dipole_quadrupole.py) was then run against this freshly-built dataset with no changes to the fitting code itself.

Result.

|  | fresh independent pull | committed dataset |
| --- | --- | --- |
| exposures | 24,716 | 24,630 |
| star measurements | 2,579,981 | 2,570,324 |

The small excess (~86 exposures, ~0.3%) is consistent with roughly two weeks of additional survey data collected between the original dataset’s build date (2026-07-21) and this check (2026-08-05) — expected, not a discrepancy.

| airmass cut | D_rot (fresh) | Q_rot (fresh) | D_rot/Q_rot (fresh) | D_rot/Q_rot (original) |
| --- | --- | --- | --- | --- |
| >1.4 | 0.0353 | 0.0174 | 2.03 [1.94, 2.13] | 2.03 [1.94, 2.12] |
| >1.6 | 0.0560 | 0.0285 | 1.97 [1.85, 2.13] | 1.93 [1.82, 2.10] |
| >1.8 | 0.0810 | 0.0464 | 1.74 [1.57, 1.97] | 1.75 [1.55, 2.04] |

The independent numbers match the original to 2–3 significant figures at every airmass cut, with overlapping bootstrap confidence intervals throughout. This was built via a different code path (a fresh implementation of the selection, not the original scripts), a different, slightly larger population, and an independently-sourced parallactic angle column — about as strong a form of independent confirmation as is practical to obtain. Win condition met: the dipole is not an artifact of how the committed parquet was generated.

## Check 2 — X/Y coordinate provenance

Concern. If the focal-plane X/Y coordinates used in the fit had any per-exposure rotation or DAR/refraction correction already applied — even inadvertently — a “rotates with parallactic angle” reading could be manufactured by the coordinate definition itself rather than reflecting real physics.

Method. Rather than repeating the desimeter-based cross-check the original DAR report already performed (validated the zenith-direction decomposition against the DB’s own parallactic column to a standard deviation of 0.003°), this check tested the specific dataset’s X/Y columns directly: a fiber’s focal-plane position, if genuinely fixed to the instrument, should be constant across exposures regardless of the sky pointing, airmass, or parallactic angle at the time — whereas any pre-applied sky-referenced rotation would show X/Y visibly varying with parallactic angle for the same fiber.

Checked the 5 most-observed fibers in the dataset (up to 763 exposures each, spanning the full survey’s range of airmass and parallactic angle):

| FIBER | n exposures | X mean (mm) | X std (mm) | Y mean (mm) | Y std (mm) |
| --- | --- | --- | --- | --- | --- |
| 3611 | 763 | −364.54 | 2.75 | 158.05 | 2.81 |
| 3761 | 761 | −330.96 | 2.82 | 222.68 | 2.93 |
| 3785 | 751 | −321.48 | 2.67 | 226.62 | 2.67 |
| 3741 | 748 | −175.58 | 2.84 | 53.92 | 2.82 |
| 3970 | 748 | −26.01 | 2.82 | 11.38 | 2.62 |

Result. X/Y is constant for a given fiber to within ~2.7–2.9mm (roughly 0.7–1% of its typical radial distance from the focal-plane center), consistent with ordinary fiber-positioner dithering between exposures — and far too small to be a field rotation. Rotating a ~400mm-radius focal plane by any meaningful fraction of the real range of parallactic angle would move an edge fiber by tens of millimeters, not ~3mm. X/Y is confirmed to be a static, instrument-fixed coordinate frame with no detectable per-exposure rotation baked in — the necessary precondition for the dipole’s “rotates-with-parallactic-angle” signature to reflect real sky-referenced physics rather than a coordinate artifact.

## Check 3 — RATIO_RAW cross-check (not attempted)

The third, optional check proposed comparing the dipole against a correction-OFF raw flux variable (RATIO_RAW) to confirm it’s physical rather than an artifact of the flat→psf aperture correction RCALIBFRAC already has applied. This variable does not currently exist — producing it requires reprocessing desispec’s select_calib_stars with that correction disabled against redux/daily inputs, which is a real reprocessing job, not a query. This is already a standing to-do (memory flux-truth-variables, items 1–2) independent of this check. Correctly left as a follow-up rather than attempted here, per the explicit “only if cheap” scoping for this check.

## Conclusion

All three planned checks are resolved appropriately: the one that mattered most (Check 1) came back decisive and reassuring, Check 2 closes a real precondition the dipole’s interpretation depends on, and Check 3 was correctly deferred rather than forced. The DAR dipole is real, reproducible from independently-generated data, and not an artifact of a stale file, a mis-join, or a coordinate-frame error. The investigation’s foundation is sound; the open question remains exactly what it was before this check — the dipole’s physical source — not whether the dipole itself is trustworthy.

## Related

- docs/DAR_DIPOLE_NERSC_HANDOFF.md — the primary investigation document (Tests 1–4, prioritized plan).

- docs/TEST4_AFFINE_GFA_REPORT.md — the per-frame affine decomposition test, completed the same session.

- docs/DAR_FIBER_LOSS_REPORT.md — the original, resolved DAR findings this investigation extends.

- Memory: dar-guider-bias-hypothesis (full evolving record), flux-truth-variables (Check 3’s standing to-do).