# Test 4 — per-frame affine decomposition of the guide-GFA offsets

K Honscheid (OSU) with Claude · NERSC session · 2026-08-05

Follow-up to DAR_DIPOLE_NERSC_HANDOFF.md (Test 4) and FIELD_ROTATION_REPORT.md (Part 5). This document reports a completed, self-contained analysis; it does not modify either of those documents.

## TL;DR

- Method validated on two single exposures (one high-airmass, one near-zenith) before scaling up: the 6-parameter affine fit (translation + rotation + isotropic scale + shear) of the 6 guide-GFA offset vectors is well-conditioned (condition number 1.23, once positions are properly non-dimensionalized — the “co-radial GFA” degeneracy worry does not bite), and the ETC-per-GFA channel has genuinely lower per-frame noise than the guider’s own per-star rotation estimate (~1.4–2.1× lower scatter, confirmed at both airmasses tested).

- Scaled to the full D_rot am>1.4 sample (2968 exposures, 100% success, ~2 min runtime).

- Rotation channel (the original motivation): the residual rotation rate (after the online hexapod.rot_rate model has already been applied) has a small, real, airmass-correlated mean (−0.06 → −0.10 arcsec/min from am>1.4 to am>1.8) — consistent with, not a contradiction of, FIELD_ROTATION_REPORT.md’s own airmass finding (real but judged too small to warrant a dynamic correction). This analysis does not by itself reopen that conclusion — see Caveats.

- Translation/dipole channel (Test 1 follow-up): the intra-exposure boresight drift, decomposed into a zenith-tied (“rotating”) and instrument-tied (“fixed”) component using the same convention as fit_dipole_quadrupole.py, comes out small and flat with airmass in its coherent (mean) part (~0.01–0.02″, not growing) — it does not show the clean D_rot-matching signature (~0.11–0.22″, growing with airmass) the surviving hypothesis predicted using the naive rate×duration metric. That metric was subsequently shown to be the wrong quantity (see the Cross-term follow-up section below, which supersedes this bullet’s “not decisive” framing with an actual decisive-ish result: the correct quantity is real, grows with airmass, but explains only ~3-4% of D_rot — small, not dominant).

## Motivation

Two separate threads converge on the same underlying data:

- FIELD_ROTATION_REPORT.md Part 5 concluded no dynamic rotation correction because no driver survived testing against the guider’s per-star, per-frame rotation fit — noisy, since GFAs carry 1–5 stars each (GUIDE7 often just 1).

- The DAR dipole investigation (DAR_DIPOLE_NERSC_HANDOFF.md) established a real, coherent, zenith-tied, airmass-growing boresight offset (D_rot ≈ 0.14″) in the standard-star flux loss. Test 1 (the once-per-exposure acquisition offset) came back real but ~100–300× too large to resolve the anomaly — dominated by the legitimate bulk pointing/refraction correction, not a small residual. Per the “correct placement” reasoning already in memory (dar-guider-bias-hypothesis), the physically relevant quantity is not the one-time acquisition offset but the intra-exposure guiding-loop residual — the boresight drift the guider fails to null during the science exposure.

The ETC json’s per-frame, per-GFA offset vectors (thru/dx_gfa, thru/dy_gfa) let both questions be addressed from lower-noise data than either previous approach used: a 6-parameter affine fit per frame (12 measurements: 6 GFAs × 2 coordinates) separates translation, rotation, scale, and shear jointly, rather than relying on a single combined per-star centroid estimate.

## Method

GFA geometry, units, ordering — confirmed directly against desietc source (user-uploaded to trunk root, desietc-master/desietc/desietc/), not assumed: - thru.dx_gfa/thru.dy_gfa are pixels (not arcsec/degrees), one 6-element list per ETC frame. - Camera order is desietc.gfa.GFACamera.guide_names = ['GUIDE0','GUIDE2','GUIDE3','GUIDE5','GUIDE7','GUIDE8'] — confirmed to match exposure.exposure.guide_cameras and the ETC json’s guide_stars dict key order. - desietc/gfa.py ships a CS5 dict (from desimeter.transform.gfa2fp): each camera’s nominal CS5 (focal-plane, mm) position, plus the exact pixel→CS5-mm linear (rotation+scale) conversion. Used directly rather than re-deriving GFA geometry from gfadata-*.par/gfaoffset-desi.dat (used for the earlier, separate, already-ruled-out gravity-deformation check).

Per-frame affine model — for GFA i at CS5 position (X_i, Y_i):

dX_i = tx + s·X_i − θ·Y_i + e1·X_i + e2·Y_i
dY_i = ty + s·Y_i + θ·X_i + e2·X_i − e1·Y_i

6 unknowns (tx, ty, s, θ, e1, e2) from 12 measurements. Per the Kirkby zero-sum caveat, rotation and shear are always fit jointly (never rotation alone) — satisfied by construction, since both are part of the same 6-parameter solve. Positions are non-dimensionalized by the GFA-ring radius (all 6 GFAs sit within 407.3–407.6mm of the focal-plane center, in 3 exact antipodal pairs) before checking conditioning — an earlier attempt without this gave a condition number of ~1e16 (later traced to a sign bug in the shear columns, not a real degeneracy); the corrected, properly-scaled design matrix gives 1.23, essentially perfectly conditioned. The design matrix is identical for every frame (fixed geometry), so all frames of an exposure are solved in one matrix multiply via a precomputed pseudo-inverse.

Per-exposure drift = the linear-in-time slope of tx(t), ty(t), θ(t) across all frames of the exposure (same precedent as fieldrotationcorrection.ipynb’s rotation_rate_slope) — kept simple/linear per agreement, not a robust or higher-order fit.

Script: analysis/dar_dipole/affine_gfa_drift_test.py. Data: data/dar_test4_drift.parquet (2968 rows, one per am>1.4 exposure: tx_slope_mmpermin, ty_slope_mmpermin, theta_slope_arcsecpermin, duration_min, nframe, merged with airmass/parallactic).

## Validation (single-exposure checks, before scaling up)

Two exposures tested: EXPID 360097 (airmass 1.98, high) and EXPID 355421 (airmass 1.00, near zenith).

| check | high airmass (360097) | low airmass (355421) |
| --- | --- | --- |
| design matrix condition number | 1.23 | 1.23 (geometry-only, airmass-independent) |
| θ(t) mean ± std | −4.58″ ± 2.38″ | −1.08″ ± 0.77″ |
| correlation(θ_ETC, guider rotation) | r=0.91, R²=0.82 | r=0.57, R²=0.32 |
| noise ratio (guider/ETC, detrended) | 1.44× | 2.11× |

The ETC-per-GFA channel is the lower-noise channel at both airmasses, and the noise premise the test was built on holds. The correlation with the guider’s own estimate drops at low airmass — plausibly because the true rotation signal itself is smaller there (~1″ vs ~4.6″), so two independently-noisy estimates of a smaller true signal naturally correlate less even if neither is biased; this explanation is plausible but not independently confirmed.

## Results — rotation channel (the FIELD_ROTATION_REPORT.md question)

θ_slope is measured after the online hexapod.rot_rate model has already been applied — it is the residual rate, directly comparable to what FIELD_ROTATION_REPORT.md Part 5 was hunting a driver for.

| airmass bin | n | mean residual (arcsec/min) | std (arcsec/min) |
| --- | --- | --- | --- |
| >1.4 | 2968 | −0.060 | 0.167 |
| >1.6 | 1035 | −0.070 | 0.173 |
| >1.8 | 179 | −0.100 | 0.231 |

- correlation(residual, airmass) = −0.062 — weak, matching FIELD_ROTATION_REPORT.md’s own conclusion that airmass has real but marginal explanatory power (the report deliberately excluded it from the deployed static model on exactly these grounds).

- correlation(residual, the rot_rate model value itself) = −0.14 — a real, nonzero correlation, meaning the current model’s predictions aren’t fully independent of its own leftover residual; mild, not dramatic.

- The mean residual grows somewhat with airmass (−0.06 → −0.10 arcsec/min) — the same shape and roughly the same size as the marginal airmass effect FIELD_ROTATION_REPORT.md already found and chose not to deploy.

Read: this does not, on its own, reopen the static-vs-dynamic decision. It reproduces (at improved per-frame precision) essentially the same small airmass-correlated residual the report already characterized and dismissed as too small to act on — it neither strengthens nor overturns that call. A genuine reopening would need the comparison this analysis did not do: re-testing the same candidate drivers (weather, TCS-correction magnitude) FIELD_ROTATION_REPORT.md Part 5 tested, using this lower-noise channel, to see if any driver that previously failed to survive full-scale testing now does.

## Results — translation/dipole channel (Test 1 follow-up)

Per-exposure translation drift rate × exposure duration = a total drift magnitude (arcsec, via an approximate 0.070 mm/arcsec focal-plane platescale near the GFA radius), decomposed into a zenith-tied (“rotating”) and instrument-tied (“fixed”) component using the identical q-rotation convention fit_dipole_quadrupole.py uses for per-star focal-plane X/Y (appropriate here since CS5 is the same focal-plane-fixed coordinate family, not the RA/Dec frame Test 1’s mount_offset_ra/dec used).

| airmass bin | n | mean(rotating) [16,84] | RMS(rotating) | mean(fixed) [16,84] | RMS(fixed) |
| --- | --- | --- | --- | --- | --- |
| >1.4 | 2968 | −0.017″ [−0.018,−0.015] | 0.103″ | +0.012″ [0.010,0.014] | 0.096″ |
| >1.6 | 1035 | −0.017″ [−0.020,−0.014] | 0.105″ | +0.015″ [0.012,0.018] | 0.107″ |
| >1.8 | 179 | −0.011″ [−0.019,−0.003] | 0.105″ | −0.000″ [−0.010,0.010] | 0.132″ |

Target for comparison: D_rot (physical) ≈ 0.11″/0.16″/0.22″ at these same three airmass bins, clearly growing with airmass; D_fix roughly flat at about half that scale.

Read: - The coherent (mean) part of the rotating component is small (~0.01–0.02″), statistically distinguishable from zero (huge n), but flat-to-slightly-decreasing with airmass — not the clear tan(z) growth D_rot shows, and only 10–15% of D_rot’s magnitude at the corresponding airmass. - The rotating and fixed components have similar RMS (exposure-to-exposure scatter) at every airmass bin, and that RMS is comparable in scale to D_rot (~0.10–0.13″) — but a scatter of similar size in both the zenith-tied and instrument-tied directions is the signature of exposure-to-exposure guiding noise of a given overall scale, not a coherent, directional, zenith-tied bias. A real dipole needs a persistent mean in the rotating direction across many exposures (which is exactly what the original D_rot fit demonstrated via its q-permutation null) — this small mean does not have that character. - This does not confirm the intra-exposure-drift hypothesis at the expected scale, but it is not a clean rule-out either — the naive rate×duration metric used here turned out to be the wrong quantity entirely. See the follow-up below, which resolves this.

## Test 5 — the cross-term follow-up (resolves the #1 open item above) — 2026-08-05, same day

(Named “Test 5” in DAR_DIPOLE_NERSC_HANDOFF.md’s prioritized plan; reported here since it’s a direct follow-up to this report’s own open item and reuses this report’s method/geometry.)

Why the rate×duration metric was wrong. Under midpoint fiber placement, a symmetric linear drift about the exposure midpoint contributes zero net mean offset by construction — so resid(t)’s own rate, multiplied by duration, cannot be the loss-dipole mechanism. The actual cross-term is

dipole-gradient = < M_shear(t) . T(t) >_t / sigma_eff^2

where, per ETC frame, T(t) = the affine translation (tx,ty — the boresight residual resid(t)) and M_shear = [[e1,e2],[e2,-e1]] is the affine shear — the field’s own differential-DAR term G(t). This is the time-average of a product of two correlated series, not the mean of either series alone — it is nonzero even for a perfectly symmetric T(t) drift, exactly the case the naive metric missed.

Method. Re-ran the per-frame affine fit (analysis/dar_dipole/affine_gfa_crossterm_test.py), computing the cross-term directly from the per-frame (tx, ty, e1, e2) series for every frame of every am>1.4 exposure — no linearity assumed, so any curvature in either series is captured, not just a linear trend. Converted to a quantity directly comparable to fit_dipole_quadrupole.py’s own D_rot (its edge value in normalized coordinates u=X/Rn): since the physical cross-term is (δ0·G·r)/σ² for a physical position r, and D_rot is the coefficient of r/Rn, D_rot_predicted = Rn · C_zenith / σ_eff² — computed entirely in physical mm (Rn=410mm, σ_eff=52μm=0.052mm), so no arcsec/platescale conversion is needed for this core comparison (the earlier ~0.070 mm/arcsec approximation is now avoided altogether, not merely replaced — the real desimodel platescale, confirmed installed and working directly on NERSC without the manual install the Mac session needed, was pulled and used only for the secondary arcsec-equivalent reporting below).

Result.

| airmass bin | n | D_rot_predicted [16,84] | D_fix_predicted [16,84] | empirical D_rot | empirical D_fix | fraction of D_rot explained |
| --- | --- | --- | --- | --- | --- | --- |
| >1.4 | 2968 | 0.00108 [0.00082, 0.00131] | −0.00258 [−0.00292,−0.00226] | 0.0353 | 0.0287 | 3.1% |
| >1.6 | 1035 | 0.00156 [0.00105, 0.00205] | −0.00657 [−0.00727,−0.00589] | 0.0560 | 0.0289 | 2.8% |
| >1.8 | 179 | 0.00344 [0.00175, 0.00524] | −0.01312 [−0.01601,−0.01045] | 0.0810 | 0.0288 | 4.2% |

(empirical D_rot/D_fix here are from the Foundation-check’s fresh, independently-regenerated refit — see docs/FOUNDATION_CHECK_REPORT.md — not the original committed-parquet numbers, though they agree to 2-3 significant figures.) In arcsec-equivalent terms (via the same δ0 = D_rot·σ_eff/√(2·Q_rot) conversion used throughout this investigation, plugging in the measured, empirical Q_rot per bin): the predicted δ0 is 0.30 / 0.34 / 0.59 μm, against a measured/target δ0 of 9.8 / 12.2 / 13.8 μm.

Read. This is a real, non-null result, and it is informative — but it is not the win condition. - The zenith component D_rot_predicted is statistically distinguishable from zero at every airmass bin (bootstrap CI never crosses zero) and does grow with airmass — in fact its fractional share of D_rot grows too (3.1% → 2.8% → 4.2%), meaning it grows somewhat faster than D_rot itself. - But it accounts for only ~3–4% of D_rot’s actual magnitude — nowhere near matching D_rot’s scale, which was the explicit win condition. The intra-exposure guiding-residual-drift-times-differential-DAR mechanism, as measured through this specific channel, is real but small, not dominant. - Unexpected wrinkle: the “fixed” (instrument-tied) component D_fix_predicted is larger than the zenith component at every bin and grows faster with airmass (roughly 5× from am>1.4 to am>1.8) — the opposite of what a purely zenith/DAR-tied mechanism would predict, and also inconsistent with the empirical D_fix’s flat behavior. This suggests whatever this cross-term is picking up isn’t cleanly aligned with the zenith direction the way the hypothesis predicted — an open, unexplained feature of this result, not just a subdominant-but-otherwise-clean signal. - Internal consistency check, for confidence in the pipeline: the mean shear magnitude measured here (~1×10⁻⁵, dimensionless) is the right order of magnitude for the independently-known ΔG (edge-motion amplitude, ~8–16 μm across this airmass range, from quad_compare_weiner_kirkby.py’s Q_rot-based conversion, i.e. ΔG/Rn ≈ 2–4×10⁻⁵) — so the shear channel is measuring something physically sensible. The smallness of the cross-term is therefore a genuine finding (T(t) and shear(t) are not strongly time-correlated at this exposure-averaged level), not an artifact of either channel being broken.

Per the user’s own decision framework for this test: this is the “flat/small → it isn’t (or isn’t dominant)” outcome, not the “matches D_rot’s scale and sign” win. The remaining candidates are the guide≠science boresight bias or the absolute-pointing residual (per the original Test 4 spec) — this specific mechanism, at least as measured through the ETC-per-GFA channel over full-exposure time averages, is not the dominant source of D_rot.

Caveats specific to this cross-term result (in addition to the general ones below): - gfadeform.dat’s intra-exposure change was checked quantitatively this time, not hand-waved. For a representative high-airmass exposure (HA 1.26°→7.15° over 23.5 min, airmass 1.985→2.007), the PlateMaker/Dervish-world gravity-deformation model’s net boresight prediction changes by only ~0.44 μm over the exposure — small compared to the ~6–9 μm measured T(t) scatter for the same exposure, and its absolute value (~2 μm) matches the already-established, already-ruled-out gravity-deformation finding almost exactly (confirms the original net_boresight_gfadeform.py computation reproduces correctly on NERSC). However: gfadeform.dat is PlateMaker/Dervish-world, while this test’s CS5 geometry and per-frame measurement is desimeter/desietc-world — two independently-developed codebases answering related but not identical questions about the same physical GFAs. This check assumes the gravity-deformation effect is comparable across both pipelines; that cross-pipeline correspondence is physically reasonable but not independently proven here. - The cross-term’s sign/rotation convention reuses fit_dipole_quadrupole.py’s exact q-convention (appropriate since CS5 is the same focal-plane-fixed frame family) — not re-verified independently for this specific derived quantity.

## Caveats (read before trusting either result)

- gfadeform.dat’s intra-exposure change: checked quantitatively for the cross-term follow-up above (found small); not separately re-checked for the rotation channel’s residual-rate result.

- Platescale (0.0700 mm/arcsec) was an approximation in the original translation-channel calculation above — superseded in the cross-term follow-up, which avoids needing a platescale conversion for its core result entirely (working in physical mm throughout) and uses the real desimodel platescale for its secondary arcsec-equivalent reporting.

- Only a linear-in-time drift model was fit for the rotation channel and the original (now-superseded) translation-channel metric, by agreement — the cross-term follow-up avoids this by computing directly from the per-frame series, not a linear fit.

- The low-airmass exposure’s weaker ETC-vs-guider correlation (r=0.57 vs 0.91) has a plausible but unconfirmed explanation (lower true-signal amplitude near zenith) — not independently checked with a third exposure or an SNR-based argument.

- The rotation-channel comparison to FIELD_ROTATION_REPORT.md is not a controlled, apples-to-apples re-test of that report’s own recalibrated model or its specific candidate drivers (weather, TCS correction magnitude) — it’s a first-look comparison of raw residual statistics, not a rerun of Part 5’s methodology on the new channel.

## Conclusion

- Field rotation: the improved-precision residual reproduces the same small airmass-correlated trend FIELD_ROTATION_REPORT.md already found and dismissed — consistent with, not a challenge to, the existing “static model, no dynamic correction” recommendation, on the evidence gathered here. Not decisive (no controlled re-test of Part 5’s specific candidate drivers was done).

- DAR dipole — now decisive, resolving the original open item. The naive translation-drift proxy (rate×duration) was the wrong quantity; the correct cross-term (⟨M_shear(t)·T(t)⟩/σ_eff², computed directly from the per-frame series) is real, statistically significant, and grows with airmass — but explains only ~3–4% of D_rot’s magnitude, with an unexplained wrinkle (its “fixed”-direction component is larger and grows faster than its zenith component, which the pure hypothesis didn’t predict). This intra-exposure guiding-residual-drift mechanism, as measured through the ETC-per-GFA channel, is real but not the dominant source of D_rot.

Credible next steps: (1) the DAR dipole thread’s remaining candidates, per the original Test 4 spec, are the guide≠science boresight bias or the absolute-pointing/acquisition-astrometry residual (Test 1’s original target, still not resolved at the needed precision — see that test’s status in DAR_DIPOLE_NERSC_HANDOFF.md); the unexplained “fixed exceeds rotating” wrinkle in the cross-term result is itself worth understanding before moving on, since it suggests this channel is picking up something real that isn’t cleanly the zenith-tied mechanism hypothesized. (2) re-test FIELD_ROTATION_REPORT.md Part 5’s specific candidate drivers using this lower-noise channel before concluding anything new about the static-vs-dynamic rotation question.

## Related

- docs/DAR_DIPOLE_NERSC_HANDOFF.md (Test 1/Test 4 definitions; this report is Test 4’s writeup).

- docs/FIELD_ROTATION_REPORT.md (Part 5, the static-vs-dynamic rotation question this partially revisits).

- Memory: dar-guider-bias-hypothesis (full evolving record, including the correct-placement cross-term reasoning behind the caveat above), field-rotation-report.